Shipped separately for field installation. Package contains frame and filter to cover air cooled condenser. Not available on dryers with weatherproof or NEMA 4 equipped dryers.