* Prepiped particulate prefilter with automatic drain installed.
* Prepiped particulate afterfilter
* Pressure differential indicators on both filters.